## 2018 Avg Min Max
Sample ID | Date | Time | Temperature C° | Conductivity us/cm3 | Dissolved Oxygen mg/L | pH | Turbidity NTU | TSS mg/L | Alkalinity mg/L | Hardness CaCO3 mg/L | Nitrate ug/L | Copper ug/L | Aluminum ug/L
WQ-01 | 2018-03-27 | 10:20 | 1.4 | 6.8 | 9.9 | 6.5 | 0.75 | 0 | 4.8 | 2.6 | 0.06 | 0.15 | 38
WQ-01 | 2018-05-11 | 11:00 | 7.7 | 7.44 | 8.81 | 6.89 | 0.53 | 0 | 5 | 2.8 | 0.12 | 0.36 | 120
WQ-01 | 2018-06-21 | 2:17 | 16.5 | 7.1 | 6.82 | 6.72 | 0.93 | 0 | 4.6 | 2.3 | 0 | 1.4 | 38
WQ-01 | 2018-07-25 | 2:05 | 21.5 | 15.7 | 6.12 | 6.91 | 0.71 | 0 | 9.4 | 6.2 | 0 | 0 | 33
WQ-01 | 2018-08-28 | 1:50 | 16.7 | 14.9 | 7.14 | 6.98 | 0.7 | 0 | 8.4 | 6.3 | 0 | 0.37 | 27
WQ-01 | 2018-09-14 | 1:55 | 11.9 | 14.4 | 7.8 | 6.99 | 0.58 | 0 | 8.8 | 5.6 | 0 | 0.27 | 4.9
WQ-01 | 2018-11-26 | 3:50 | 4.4 | 23.8 | 10.3 | 7.8 | 0.4 | 0 | 4 | 4.6 | 0.07 | 0 | 3.1
WQ-01 | 2018-12-19 | 5:05 | 1.8 | 23.4 | 10.9 | 7.9 | 0.3 | 0 | 6 | 5.1 | 0 | 0 | 0
|  | AVG | 10.2375 | 14.1925 | 8.4738 | 7.0862 | 0.6125 | 0 | 6.375 | 4.4375 | 0.03125 | 0.31875 | 33
|  | MIN | 1.4 | 6.8 | 6.12 | 6.5 | 0.3 | 0 | 4 | 2.3 | 0 | 0 | 0
|  | MAX | 21.5 | 23.8 | 10.9 | 7.9 | 0.93 | 0 | 9.4 | 6.3 | 0.12 | 1.4 | 120
WQ-02 | 2018-03-27 | * | * | * | * | * | * | * | * | * | * | * | *
WQ-02 | 2018-05-11 | * | * | * | * | * | * | * | * | * | * | * | *
WQ-02 | 2018-06-21 | 11:35 | 13.7 | 2 | 7.18 | 6.25 | 0.43 | 0 | 3.2 | 0.54 | 0 | 0.3 | 22
WQ-02 | 2018-07-25 | 11:25 | 21.2 | 2.2 | 6.21 | 6.52 | 0 | 0 | 6.4 | 0 | 0 | 0 | 28
WQ-02 | 2018-08-28 | 11:20 | 14.2 | 2.5 | 7.74 | 6.5 | 0.28 | 0 | 2.6 | 1.1 | 0 | 0.18 | 27
WQ-02 | 2018-09-14 | 11:25 | 12.3 | 2.5 | 7.99 | 6.78 | 0 | 0 | 3 | 16 | 0 | 0 | 2.3
WQ-02 | 2018-11-26 | * | * | * | * | * | * | * | * | * | * | * | *
WQ-02 | 2018-12-19 | * | * | * | * | * | * | * | * | * | * | * | *
|  | AVG | 15.35 | 2.3 | 7.28 | 6.5125 | 0.1775 | 0 | 3.8 | 4.41 | 0 | 0.12 | 19.825
|  | MIN | 12.3 | 2 | 6.21 | 6.25 | 0 | 0 | 2.6 | 0 | 0 | 0 | 2.3
|  | MAX | 21.2 | 2.5 | 7.99 | 6.78 | 0.43 | 0 | 6.4 | 16 | 0 | 0.3 | 28
WQ-03 | 2018-03-28 | 2:45 | 4.6 | 23.4 | 9.7 | 7.4 | 0.56 | 0 | 10 | 11 | 0.083 | 0.21 | 10
WQ-03 | 2018-05-11 | 10:05 | 6.6 | 21.4 | 9.46 | 7.16 | 0.93 | 0 | 10 | 7.2 | 0 | 0.27 | 23
WQ-03 | 2018-06-21 | 11:10 | 8.9 | 24 | 8.11 | 8.42 | 1 | 0 | 11 | 7.6 | 0 | 0.35 | 19
WQ-03 | 2018-07-25 | 11:15 | 11.7 | 1.9 | 7.71 | 7.27 | 0.95 | 0 | 9.4 | 8.7 | 0 | 0 | 23
WQ-03 | 2018-08-28 | 10:05 | 13.1 | 21.6 | 7.4 | 7.9 | 2 | 0 | 10 | 9.4 | 0 | 0.51 | 40
WQ-03 | 2018-09-14 | 9:30 | 15.1 | 20.9 | 7.63 | 7.65 | 0.5 | 0 | 5.6 | 7.9 | 0 | 0.25 | 16
WQ-03 | 2018-11-26 | 2:10 | 5.8 | 21.3 | 9.6 | 8.3 | 0.4 | 0 | 4 | 4.6 | 0.07 | 0.34 | 26
WQ-03 | 2018-12-20 | 11:30 | 0.4 | 38.1 | 9.34 | 7.7 | 4.1 | 26 | 7.6 | 6.8 | 0 | 0 | 34
|  | AVG | 8.275 | 21.575 | 8.6188 | 7.725 | 1.305 | 3.25 | 8.45 | 7.9 | 0.019125 | 0.24125 | 23.875
|  | MIN | 0.4 | 1.9 | 7.4 | 7.16 | 0.4 | 0 | 4 | 4.6 | 0 | 0 | 10
|  | MAX | 15.1 | 38.1 | 9.7 | 8.42 | 4.1 | 26 | 11 | 11 | 0.083 | 0.51 | 40
WQ-04 | 2018-03-28 | 2:00 | 0.6 | 15.5 | 10.4 | 7.3 | 1.1 | 0 | 4.6 | 7.7 | 0.081 | 0.21 | 83
WQ-04 | 2018-05-11 | 9:35 | 10.1 | 17.5 | 8.45 | 7.38 | 0.51 | 0 | 6.6 | 5.4 | 0.14 | 0.15 | 35
WQ-04 | 2018-06-21 | 11:35 | 16 | 14.6 | 12.1 | 7.73 | 0.85 | 0 | 7 | 4.6 | 0 | 0.22 | 35
WQ-04 | 2018-07-25 | 12:10 | 21.6 | 13.8 | 6.77 | 7.22 | 8.4 | 0 | 6 | 5.5 | 0 | 0 | 45
WQ-04 | 2018-08-28 | 10:40 | 18.4 | 13.5 | 6.66 | 7.65 | 1.1 | 0 | 6 | 5.5 | 0 | 0.72 | 42
WQ-04 | 2018-09-14 | 10:20 | 14.6 | 14.1 | 7.69 | 7.4 | 0.68 | 0 | 6.6 | 4.8 | 0 | 0.23 | 32
WQ-04 | 2018-11-26 | 1:35 | 4.5 | 15.1 | 9.7 | 8 | 0.83 | 0 | 5.6 | 5.9 | 0 | 0 | 19
WQ-04 | 2018-12-20 | 10:50 | 3.3 | 15.2 | 10 | 8.3 | 1.2 | 0 | 6.6 | 5.4 | 0 | 0 | 0
|  | AVG | 11.1375 | 14.9125 | 8.9712 | 7.6225 | 1.8337 | 0 | 6.125 | 5.6 | 0.027625 | 0.19125 | 36.375
|  | MIN | 0.6 | 13.5 | 6.66 | 7.22 | 0.51 | 0 | 4.6 | 4.6 | 0 | 0 | 0
|  | MAX | 21.6 | 17.5 | 12.1 | 8.3 | 8.4 | 0 | 7 | 7.7 | 0.14 | 0.72 | 83
WQ-05 | 2018-03-29 | 1:10 | 4.8 | 53.4 | 10.4 | 7.6 | 0.81 | 0 | 14 | 13 | 0.08 | 0.27 | 82
WQ-05 | 2018-05-11 | 12:00 | 9 | 12.7 | 10.66 | 6.84 | 0.67 | 3 | 6.8 | 5.6 | 0.13 | 0.17 | 85
WQ-05 | 2018-06-21 | 12:35 | 15.8 | 32.8 | 8.17 | 7.59 | 0.72 | 0 | 13 | 9.4 | 0 | 0.43 | 110
WQ-05 | 2018-07-25 | 1:30 | 20.8 | 32.9 | 7.24 | 7.51 | 0.78 | 0 | 12 | 11 | 0 | 0 | 46
WQ-05 | 2018-08-28 | 2:55 | 17.3 | 34.7 | 7.78 | 7.58 | 1.7 | 0 | 11 | 10 | 0 | 0.35 | 100
WQ-05 | 2018-09-14 | 2:45 | 14.3 | 43.9 | 8.99 | 7.98 | 0.15 | 0 | 13 | 11 | 0 | 0.33 | 28
WQ-05 | 2018-11-26 | 11:55 | 3.8 | 44.1 | 11.55 | 8.2 | 0.51 | 0 | 16 | 13 | 0.075 | 0.12 | 19
WQ-05 | 2018-12-19 | 4:00 | 2.8 | 49.3 | 11.8 | 8.2 | 1.7 | 6.3 | 14 | 13 | 0 | 0 | 0
|  | AVG | 11.075 | 37.975 | 9.5738 | 7.6875 | 0.88 | 1.1625 | 12.475 | 10.75 | 0.035625 | 0.20875 | 58.75
|  | MIN | 2.8 | 12.7 | 7.24 | 6.84 | 0.15 | 0 | 6.8 | 5.6 | 0 | 0 | 0
|  | MAX | 20.8 | 53.4 | 11.8 | 8.2 | 1.7 | 6.3 | 16 | 13 | 0.13 | 0.43 | 110
WQ-06 | 2018-03-29 | 12:30 | 4.5 | 37.2 | 10.7 | 7.6 | 1 | 0 | 13 | 12 | 0.065 | 0.23 | 110
WQ-06 | 2018-05-11 | 12:05 | 9 | 12.6 | 9.2 | 6.85 | 0.9 | 2.7 | 9.2 | 8 | 0.12 | 0.18 | 80
WQ-06 | 2018-06-21 | 12:40 | 16 | 32.7 | 8.14 | 7.62 | 0.89 | 0 | 13 | 9.5 | 0 | 0.39 | 45
WQ-06 | 2018-07-25 | 1:45 | 13.45 | 33.3 | 7.28 | 7.52 | 0.73 | 0 | 9.4 | 11 | 0 | 7.4 | 33
WQ-06 | 2018-08-28 | 2:45 | 2.3 | 75.5 | 8.11 | 7.7 | 1.2 | 0 | 14 | 11 | 0 | 0.73 | 85
WQ-06 | 2018-09-14 | 2:35 | 14.4 | 43.9 | 9.02 | 7.81 | 0.23 | 0 | 13 | 11 | 0 | 0.39 | 9.9
WQ-06 | 2018-11-26 | 11:45 | 3.8 | 44.2 | 11.75 | 8.2 | 0.52 | 0 | 14 | 12 | 0.077 | 0.29 | 0
WQ-06 | 2018-12-19 | 4:10 | 2.8 | 49.4 | 11.9 | 8.2 | 0.59 | 0 | 14 | 13 | 0 | 0 | 0
|  | AVG | 8.2812 | 41.1 | 9.5125 | 7.6875 | 0.7575 | 0.3375 | 12.45 | 10.9375 | 0.03275 | 1.2013 | 45.3625
|  | MIN | 2.3 | 12.6 | 7.28 | 6.85 | 0.23 | 0 | 9.2 | 8 | 0 | 0 | 0
|  | MAX | 16 | 75.5 | 11.9 | 8.2 | 1.2 | 2.7 | 14 | 13 | 0.12 | 7.4 | 110
WQ-07 **
WQ-08 **
WQ-09 | 2018-03-29 | 1:50 | 5.8 | 55.1 | 10.4 | 7.9 | 3 | 0 | 29 | 29 | 0.056 | 0.44 | 340
WQ-09 | 2018-05-10 | 2:50 | 10.2 | 72.9 | 9.2 | 7.87 | 0.52 | 0 | 45 | 41 | 0 | 0.15 | 47
WQ-09 | 2018-06-21 | 2:20 | 12.53 | 111.8 | 8.49 | 8.26
WQ-09 | 2018-07-23 | 5:40 | 16.3 | 41.1 | 7.67 | 7.7 | 0 | 0 | 60 | 62 | 0 | 0 | 1100
WQ-09 | 2018-08-28 | 4:00 | 11.9 | 153.6 | 8.48 | 8.3 | 1.5 | 0 | 82 | 80 | 0.071 | 0.67 | 130
WQ-09 | 2018-09-14 | 2:25 | 10.5 | 160.2 | 9.54 | 8.36 | 0.073 | 0 | 83 | 72 | 0 | 0.35 | 55
WQ-09 | 2018-11-26 | 11:30 | 7 | 161.2 | 10.5 | 8.5 | 0.21 | 0 | 83 | 79 | 0 | 0 | 4.5
WQ-09 | 2018-12-19 | 3:40 | 5.8 | 161.8 | 10.9 | 8.5 | 0.93 | 0 | 75 | 75 | 0 | 0 | 0
|  | AVG | 10.0037 | 114.7125 | 9.3975 | 8.1738 | 0.7575 | 0 | 65.2857 | 62.5714 | 0.018143 | 0.23 | 239.5
|  | MIN | 5.8 | 41.1 | 7.67 | 7.7 | 0.23 | 0 | 29 | 29 | 0 | 0 | 0
|  | MAX | 16.3 | 161.8 | 10.9 | 8.5 | 1.2 | 0 | 83 | 80 | 0.071 | 0.67 | 1100
WQ-10 | 2018-03-29 | 2:10 | 6.1 | 55.8 | 10.5 | 7.8 | 3.3 | 3.7 | 19 | 30 | 0.069 | 0.51 | 370
WQ-10 | 2018-05-10 | 3:00 | 10.4 | 72.3 | 9.15 | 7.92 | 0.99 | 0 | 42 | 41 | 0 | 0.3 | 110
WQ-10 | 2018-06-21 | 2:41 | 12.9 | 107.6 | 8.34 | 8.24
WQ-10 | 2018-07-23 | 6:00 | 16.4 | 14.6 | 7.76 | 8.03 | 0 | 0 | 59 | 61 | 0 | 0 | 1000
WQ-10 | 2018-08-27 | 4:20 | 13.5 | 121.9 | 8.2 | 8.2 | 12 | 0 | 60 | 59 | 0.064 | 1.2 | 920
WQ-10 | 2018-09-14 | 2:05 | 12.1 | 127.6 | 9.22 | 8.25 | 9.2 | 2 | 59 | 51 | 0.061 | 0.98 | 1400
WQ-10 | 2018-11-26 | 11:15 | 6.7 | 157.5 | 10.5 | 8.4 | 0.59 | 2.7 | 79 | 76 | 0 | 0 | 34
WQ-10 | 2018-12-19 | 3:25 | 5.3 | 148.4 | 10.9 | 8.4 | 7.6 | 14 | 73 | 68 | 0 | 0 | 180
|  | AVG | 10.425 | 100.7125 | 9.3213 | 8.155 | 4.8114 | 3.2 | 55.8571 | 55.1429 | 0.027714 | 0.42714 | 573.4286
|  | MIN | 5.3 | 14.6 | 7.76 | 7.8 | 0 | 0 | 19 | 30 | 0 | 0 | 34
|  | MAX | 16.4 | 157.5 | 10.9 | 8.4 | 12 | 14 | 79 | 76 | 0.069 | 1.2 | 1400
WQ-11 | 2018-03-27 | 1:55 | 5.8 | 28.4 | 10.7 | 7.6 | 1.3 | 0 | 13 | 13 | 0.063 | 0.1 | 44
WQ-11 | 2018-05-11 | 1:30 | 11.4 | 33.1 | 8.88 | 7.61 | 0.27 | 0 | 1.7 | 12 | 0 | 0.11 | 35
WQ-11 | 2018-06-21 | 1:45 | 17 | 36.3 | 7.77 | 7.78 | 0.43 | 0 | 19 | 12 | 0 | 0.25 | 11
WQ-11 | 2018-07-25 | 3:15 | 20.3 | 39.7 | 7.32 | 7.63 | 0 | 0 | 9.6 | 16 | 0 | 2.9 | 0
WQ-11 | 2018-08-28 | 1:50 | 16.1 | 41 | 7.95 | 7.9 | 0.6 | 0 | 19 | 15 | 0 | 0.42 | 25
WQ-11 | 2018-09-13 | 1:15 | 13.8 | 42.4 | 8.92 | 7.91 | 0.094 | 0 | 20 | 13 | 0.073 | 0.13 | 22
WQ-11 | 2018-11-27 | 10:30 | 5.3 | 36.9 | 10.6 | 8.2 | 0.23 | 0 | 16 | 13 | 0 | 0 | 9.4
WQ-11 | 2018-12-20 | 2:20 | 2.7 | 34.9 | 11.6 | 8.2 | 4.6 | 19 | 14 | 12 | 0 | 0 | 0
|  | AVG | 11.55 | 36.5875 | 9.2175 | 7.8538 | 0.9405 | 2.375 | 14.0375 | 13.25 | 0.017 | 0.48875 | 18.3
|  | MIN | 2.7 | 28.4 | 7.32 | 7.6 | 0 | 0 | 1.7 | 12 | 0 | 0 | 0
|  | MAX | 20.3 | 42.4 | 11.6 | 8.2 | 4.6 | 19 | 20 | 16 | 0.073 | 2.9 | 44
WQ-12 | 2018-03-27 | 3:00 | 6.3 | 29.4 | 10.6 | 7.7 | 0.96 | 0 | 12 | 13 | 0.065 | 0.1 | 47
WQ-12 | 2018-05-11 | 12:30 | 12 | 33.1 | 8.93 | 7.62 | 0.25 | 0 | 1.6 | 13 | 0 | 0 | 20
WQ-12 | 2018-06-21 | 1:00 | 18 | 40.3 | 7.95 | 7.82 | 0.51 | 0 | 19 | 13 | 0 | 0.21 | 14
WQ-12 | 2018-07-25 | 2:30 | 22.6 | 42.4 | 7.4 | 7.79 | 0 | 0 | 22 | 17 | 0 | 0:00 | 0
WQ-12 | 2018-08-28 | 1:00 | 17.7 | 49.2 | 8.12 | 7.78 | 0.82 | 0 | 24 | 18 | 0.063 | 9.4 | 71
WQ-12 | 2018-09-13 | 12:30 | 15.1 | 51.6 | 9.31 | 7.77 | 0.13 | 0 | 21 | 16 | 0 | 0.35 | 0
WQ-12 | 2018-11-27 | 9:45 | 5.5 | 38.8 | 10.9 | 8.2 | 0.79 | 0 | 15 | 15 | 0 | 0.17 | 46
WQ-12 | 2018-12-20 | 1:25 | 2.7 | 36.6 | 11.79 | 8.1 | 0.28 | 0 | 18 | 13 | 0 | 0 | 0
|  | AVG | 12.4875 | 40.175 | 9.375 | 7.8475 | 0.4675 | 0 | 16.575 | 14.75 | 0.016 | 1.2788 | 24.75
|  | MIN | 2.7 | 29.4 | 7.4 | 7.62 | 0 | 0 | 1.6 | 13 | 0 | 0 | 0
|  | MAX | 22.6 | 51.6 | 11.79 | 8.2 | 0.96 | 0 | 24 | 18 | 0.065 | 9.4 | 71
WQ-13 **
WQ-14 **
WQ-15 | 2018-03-29 | 4:50 | 6.2 | 42.6 | 10.4 | 7.7 | 4.3 | 0 | 19 | 18 | 0.055 | 0.44 | 440
WQ-15 | 2018-05-10 | 10:50 | 10.4 | 59.3 | 9.28 | 7.72 | 0.26 | 0 | 30 | 23 | 0 | 0.18 | 32
WQ-15 | 2018-06-21 | 11:25 | 12.1 | 71.8 | 8.65 | 7.92 | 0.37 | 0 | 41 | 25 | 0 | 0.09 | 16
WQ-15 | 2018-07-25 | 2:45 | 16.8 | 73.1 | 7.69 | 7.66 | 1.81 | 0 | 33 | 28 | 0 | 0 | 0
WQ-15 | 2018-08-27 | 1:50 | 13.4 | 74.3 | 8.16 | 7.87 | 0.99 | 0 | 36 | 26 | 0 | 0.46 | 85
WQ-15 | 2018-09-13 | 2:00 | 11.9 | 26.2 | 9.67 | 7.96 | 0.44 | 0 | 35 | 24 | 0 | 1.5 | 460
WQ-15 | 2018-11-27 | 1:05 | 6.9 | 76.6 | 10.2 | 7.9 | 0.28 | 0 | 31 | 27 | 0 | 0 | 7.5
WQ-15 | 2018-12-19 | 1:30 | 4.8 | 75 | 10.9 | 8.1 | 3.3 | 6.7 | 35 | 26 | 0 | 0 | 38
|  | AVG | 10.3125 | 62.3625 | 9.3688 | 7.8537 | 1.4688 | 0.8375 | 32.5 | 24.625 | 0.006875 | 0.33375 | 134.8125
|  | MIN | 4.8 | 26.2 | 7.69 | 7.66 | 0.26 | 0 | 19 | 18 | 0 | 0 | 0
|  | MAX | 16.8 | 76.6 | 10.9 | 8.1 | 4.3 | 6.7 | 41 | 28 | 0.055 | 1.5 | 460
WQ-16 | 2018-03-29 | 2:35 | 7 | 46 | 10.3 | 7.8 | 3.5 | 0 | 24 | 20 | 0 | 0.46 | 350
WQ-16 | 2018-05-10 | 2:37 | 11.7 | 6.72 | 9.03 | 7.73 | 0.7 | 5.7 | 32 | 25 | 0 | 0.51 | 25
WQ-16 | 2018-06-21 | 2:00 | 13.1 | 77 | 8.4 | 7.82 | 3.6 | 0 | 51 | 32 | 0 | 1.1 | 490
WQ-16 | 2018-07-23 | 3:10 | 16.4 | 84.5 | 7.8 | 7.86 | 0.61 | 0 | 40 | 36 | 0 | 0 | 370
WQ-16 | 2018-08-27 | 3:30 | 13.3 | 89.8 | 8.32 | 7.89 | 0.91 | 0 | 36 | 36 | 0 | 0.58 | 79
WQ-16 | 2018-09-13 | 4:40 | 12.1 | 94.4 | 9.7 | 8 | 0.36 | 0 | 43 | 35 | 0 | 0.19 | 0
WQ-16 | 2018-11-26 | 10:45 | 6.6 | 85.9 | 10.6 | 8.2 | 0.26 | 0 | 38 | 37 | 0 | 0.81 | 37
WQ-16 | 2018-12-19 | 2:50 | 5.3 | 83.1 | 11.12 | 8.1 | 0.15 | 0 | 37 | 36 | 0 | 0 | 0
|  | AVG | 10.6875 | 70.9275 | 9.4087 | 7.925 | 1.2612 | 0.7125 | 37.625 | 32.125 | 0 | 0.45625 | 168.875
|  | MIN | 5.3 | 6.72 | 7.8 | 7.73 | 0.15 | 0 | 24 | 20 | 0 | 0 | 0
|  | MAX | 16.4 | 94.4 | 11.12 | 8.2 | 3.6 | 5.7 | 51 | 37 | 0 | 1.1 | 490
WQ-17 | 2018-03-27 | 5:50 | 6.1 | 40.6 | 10.1 | 7.2 | 2.3 | 0 | 13 | 16 | 0.082 | 0.16 | 200
WQ-17 | 2018-05-10 | 10:10 | 9.4 | 46.4 | 8.84 | 7.12 | 0.51 | 0 | 24 | 18 | 0 | 0.11 | 45
WQ-17 | 2018-06-21 | 10:35 | 11.9 | 58.1 | 7.79 | 7.05 | 7 | 0 | 40 | 21 | 0 | 0.13 | 19
WQ-17 | 2018-07-23 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
WQ-17 | 2018-08-27 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
WQ-17 | 2018-09-13 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
WQ-17 | 2018-11-27 | 12:20 | 7.8 | 54.8 | 8.21 | 7.2 | 1.7 | 0 | 24 | 21 | 0 | 0.49 | 110
WQ-17 | 2018-12-19 | 12:40 | 5 | 44 | 9.98 | 7.4 | 2.3 | 0 | 20 | 14 | 0 | 0 | 130
|  | AVG | 8.04 | 48.78 | 8.984 | 7.194 | 2.762 | 0 | 24.2 | 18 | 0.0164 | 0.178 | 100.8
|  | MIN | 5 | 40.6 | 7.79 | 7.05 | 0.51 | 0 | 13 | 14 | 0 | 0 | 19
|  | MAX | 11.9 | 58.1 | 10.1 | 7.4 | 7 | 0 | 40 | 21 | 0.082 | 0.49 | 200
WQ-18 | 2018-03-29 | 3:10 | 8.5 | 44.7 | 10.1 | 7.6 | 1.7 | 0 | 20 | 20 | 0.075 | 0.3 | 190
WQ-18 | 2018-05-10 | 1:50 | 13.8 | 54.7 | 8.46 | 7.59 | 0.28 | 0 | 24 | 20 | 0.12 | 0.35 | 34
WQ-18 | 2018-06-21 | 12:43 | 13.5 | 50.9 | 8.7 | 7.58 | 0.89 | 0 | 21 | 16 | 0.14 | 0.23 | 19
WQ-18 | 2018-07-23 | 4:36 | 21.7 | 68.1 | 7.78 | 7.71 | 20.1 | 0 | 21 | 27 | 0 | 0 | 56
WQ-18 | 2018-08-28 | 12:00 | 13.4 | 42.1 | 8.21 | 7.37 | 1.4 | 2.3 | 16 | 14 | 0 | 0.51 | 200
WQ-18 | 2018-09-13 | 3:50 | 12.1 | 64.3 | 9.51 | 7.7 | 0.18 | 0 | 20 | 22 | 0.058 | 0.19 | 56
WQ-18 | 2018-11-27 | 11:40 | 7.3 | 72.7 | 10.4 | 8 | 0.29 | 0 | 26 | 29 | 0.079 | 1.2 | 20
WQ-18 | 2018-12-20 | 3:25 | 5.2 | 65.2 | 11.2 | 8.04 | 1 | 0 | 22 | 23 | 0 | 0 | 20
|  | AVG | 11.9375 | 57.8375 | 9.295 | 7.6988 | 3.23 | 0.2875 | 21.25 | 21.375 | 0.059 | 0.3475 | 74.375
|  | MIN | 5.2 | 42.1 | 7.78 | 7.37 | 0.18 | 0 | 16 | 14 | 0 | 0 | 19
|  | MAX | 21.7 | 72.7 | 11.2 | 8.04 | 20.1 | 2.3 | 26 | 29 | 0.14 | 1.2 | 200
WQ-19 | 2018-03-29 | 6:05 | 6 | 32.5 | 10.2 | 7 | 2.5 | 0 | 14 | 12 | 0.061 | 0.19 | 240
WQ-19 | 2018-05-10 | 1035 | 9.13 | 47.3 | 9.04 | 7.19 | 0.77 | 0 | 25 | 19 | 0 | 0 | 58
WQ-19 | 2018-06-21 | 10:19 | 10.6 | 45.9 | 8.4 | 7.33 | 1.5 | 0 | 26 | 15 | 0.14 | 0 | 37
WQ-19 | 2018-07-23 | 1:53 | 15 | 41.9 | 7.58 | 7.12 | 8.81 | 86 | 22 | 15 | 0 | 0 | 1200
WQ-19 | 2018-08-27 | 12:30 | 11.9 | 89.8 | 8.32 | 7.89 | 3.2 | 12 | 19 | 13 | 0 | 0.82 | 620
WQ-19 | 2018-09-13 | 12:55 | 11.1 | 41.5 | 9.03 | 7.63 | 0.52 | 0 | 18 | 11 | 0 | 0.13 | 42
WQ-19 | 2018-11-27 | 12:10 | 6.5 | 51.6 | 9.71 | 7.8 | 0.43 | 0 | 29 | 19 | 0.12 | 0.73 | 39
WQ-19 | 2018-12-19 | 12:25 | 4.1 | 51.9 | 10.7 | 7.5 | 62 | 69 | 23 | 17 | 0 | 0 | 120
|  | AVG | 9.2912 | 50.3 | 9.1225 | 7.4325 | 9.9663 | 20.875 | 22 | 15.125 | 0.040125 | 0.23375 | 294.5
|  | MIN | 4.1 | 32.5 | 7.58 | 7 | 0.43 | 0 | 14 | 11 | 0 | 0 | 37
|  | MAX | 15 | 89.8 | 10.7 | 7.89 | 62 | 86 | 29 | 19 | 0.14 | 0.82 | 1200
WQ-20 | 2018-03-29 | 3:45 | 7.2 | 32.7 | 10.3 | 7.7 | 2.5 | 0 | 17 | 12 | 0.06 | 0.51 | 230
WQ-20 | 2018-05-10 | 1:05 | 11.8 | 39 | 9.3 | 7.63 | 0.69 | 0 | 19 | 15 | 0 | 0.16 | 50
WQ-20 | 2018-06-21 | 12:10 | 12.9 | 37.8 | 8.38 | 7.88 | 0.58 | 0 | 18 | 10 | 0 | 0.11 | 29
WQ-20 | 2018-07-23 | 4:00 | 17.7 | 29 | 7.7 | 7.82 | 40 | 0 | 8.4 | 12 | 0 | 0 | 68
WQ-20 | 2018-08-27 | 3:00 | 12.7 | 7.3 | 8.51 | 7.13 | 0.85 | 0 | 17 | 10 | 0 | 0.22 | 50
WQ-20 | 2018-09-13 | 3:05 | 10.8 | 34.3 | 9.78 | 7.93 | 0.41 | 0 | 15 | 9.9 | 0 | 0.23 | 74
WQ-20 | 2018-11-26 | 10:25 | 6.7 | 38.3 | 10.9 | 8.4 | 0.39 | 12 | 17 | 13 | 0.11 | 1.7 | 230
WQ-20 | 2019-12-18 | 2:35 | 5 | 39.4 | 11.23 | 8.1 | 0.74 | 0 | 16 | 12 | 0 | 0 | 130
|  | AVG | 10.6 | 32.225 | 9.5125 | 7.8238 | 5.77 | 1.5 | 15.925 | 11.7375 | 0.02125 | 0.36625 | 107.625
|  | MIN | 5 | 7.3 | 7.7 | 7.13 | 0.39 | 0 | 8.4 | 9.9 | 0 | 0 | 29
|  | MAX | 17.7 | 39.4 | 11.23 | 8.4 | 40 | 12 | 19 | 15 | 0.11 | 1.7 | 230
* Unsafe to reach location due to weather conditions
** Mill Creek and Carpenter Creek sample sites removed from the Water Quality Monitoring Plan with approved one-year variance - no data collected
*** Creek dry - no surface water to sample in vicintiy of sample site
# No data available due to equipment failure
Non-detect (ND) changed to 0 for purposes of calculating AVG, MIN, and MAX

## 2018 E.coli Data
E.coli concentrations (MPN/100 mL)
Sample ID | Date | Time | E.Coli MPN/100 mL | Sample ID | Date | Time | E.Coli MPN/100 mL
WQ-01 | 2018-05-21 | 10:10 | 1 | WQ-02 | * | * | *
WQ-01 | 2018-05-24 | 10:45 | 3.1 | WQ-02 | * | * | *
WQ-01 | 2018-05-29 | 10:50 | 1 | WQ-02 | * | * | *
WQ-01 | 2018-05-26 | 9:15 | 1 | WQ-02 | * | * | *
WQ-01 | 2018-06-18 | 4:05 | 1 | WQ-02 | 2018-06-18 | 4:20 | 1
WQ-01 | 2018-06-21 | 2:13 | 4.1 | WQ-02 | 2018-06-21 | 11:30 | 1
WQ-01 | 2018-07-02 | 2:10 | 3.1 | WQ-02 | 2018-07-02 | 11:28 | 1
WQ-01 | 2018-07-05 | 1:40 | 3.1 | WQ-02 | 2018-07-05 | 11:10 | 1
WQ-01 | 2018-07-16 | 1:55 | 1 | WQ-02 | 2018-07-16 | 1:55 | 1
WQ-01 | 2018-07-28 | 2:00 | 48.7 | WQ-02 | 2018-07-25 | 11:22 | 1
WQ-01 | 2018-07-30 | 1:45 | 8.6 | WQ-02 | 2018-07-30 | 11:18 | 1
WQ-01 | 2018-08-06 | 1:45 | 4.1 | WQ-02 | 2018-08-06 | 11:20 | 1
WQ-01 | 2018-08-13 | 1:45 | 36.9 | WQ-02 | 2018-08-13 | 11:21 | 1
WQ-01 | 2018-08-20 | 1:55 | 4.1 | WQ-02 | 2018-08-20 | 11:20 | 1
WQ-01 | 2018-08-28 | 1:49 | 11 | WQ-02 | 2018-08-28 | 11:19 | 1
WQ-01 | 2018-08-30 | 1:35 | 2 | WQ-02 | 2018-08-30 | 11:15 | 1
WQ-01 | 2018-09-04 | 1:45 | 1 | WQ-02 | 2018-09-04 | 11:25 | 1
WQ-01 | 2018-09-10 | 1:45 | 7.5 | WQ-02 | 2018-09-10 | 11:25 | 1
WQ-01 | 2018-09-14 | 1:50 | 5.2 | WQ-02 | 2018-09-14 | 11:20 | 1
WQ-01 | 2018-09-24 | 1:45 | 3.1 | WQ-02 | 2018-09-24 | 11:30 | 1
Sample ID | Date | Time | E.Coli MPN/100 mL | Sample ID | Date | Time | E.Coli MPN/100 mL
WQ-03 | 2018-05-21 | 10:55 | 1 | WQ-04 | 2018-05-21 | 11:10 | 1
WQ-03 | 2018-05-24 | 11:30 | 1 | WQ-04 | 2018-05-24 | 11:50 | 1
WQ-03 | 2018-05-29 | 11:35 | 1 | WQ-04 | 2018-05-29 | 12:00 | 1
WQ-03 | 2018-06-18 | 11:45 | 1 | WQ-04 | 2018-06-18 | 12:00 | 1
WQ-03 | 2018-06-21 | 11:10 | 1 | WQ-04 | 2018-06-21 | 11:35 | 1
WQ-03 | 2018-07-02 | 11:10 | 1 | WQ-04 | 2018-07-02 | 11:30 | 1
WQ-03 | 2018-07-05 | 11:25 | 1 | WQ-04 | 2018-07-05 | 11:40 | 1
WQ-03 | 2018-07-18 | 11:20 | 1 | WQ-04 | 2018-07-18 | 11:40 | 5.2
WQ-03 | 2018-07-25 | 11:15 | 1 | WQ-04 | 2018-07-25 | 12:10 | 1
WQ-03 | 2018-07-30 | 11:40 | 1 | WQ-04 | 2018-07-30 | 11:55 | 1
WQ-03 | 2018-08-06 | 11:20 | 1 | WQ-04 | 2018-08-06 | 11:35 | 3.1
WQ-03 | 2018-08-13 | 11:17 | 1 | WQ-04 | 2018-08-13 | 11:55 | 2
WQ-03 | 2018-08-20 | 11:30 | 3.1 | WQ-04 | 2018-08-20 | 12:00 | 1
WQ-03 | 2018-08-28 | 10:05 | 5.2 | WQ-04 | 2018-08-28 | 10:40 | 2
WQ-03 | 2018-08-30 | 1:15 | 1 | WQ-04 | 2018-08-30 | 12:55 | 1
WQ-03 | 2018-09-04 | 1:15 | 1 | WQ-04 | 2018-09-04 | 1:30 | 2
WQ-03 | 2018-09-10 | 11:20 | 3.1 | WQ-04 | 2018-09-10 | 11:40 | 4.1
WQ-03 | 2018-09-14 | 9:30 | 1 | WQ-04 | 2018-09-14 | 10:20 | 1
WQ-03 | 2018-09-24 | 11:00 | 1 | WQ-04 | 2018-09-24 | 11:15 | 1
Sample ID | Date | Time | E.Coli MPN/100 mL | Sample ID | Date | Time | E.Coli MPN/100 mL
WQ-05 | 2018-05-21 | 12:06 | 1 | WQ-06 | 2018-05-21 | 12:10 | 1
WQ-05 | 2018-05-24 | 12:45 | 1 | WQ-06 | 2018-05-24 | 12:50 | 1
WQ-05 | 2018-05-29 | 12:55 | 3.1 | WQ-06 | 2018-05-29 | 1:00 | 1
WQ-05 | 2018-06-18 | 1:00 | 13 | WQ-06 | 2018-06-18 | 1:05 | 1
WQ-05 | 2018-06-21 | 11:35 | 5.2 | WQ-06 | 2018-06-21 | 12:40 | 1
WQ-05 | 2018-07-02 | 12:23 | 1 | WQ-06 | 2018-07-02 | 12:27 | 1
WQ-05 | 2018-07-05 | 12:35 | 2 | WQ-06 | 2018-07-05 | 12:35 | 1
WQ-05 | 2018-07-16 | 12:45 | 1 | WQ-06 | 2018-07-16 | 12:50 | 2
WQ-05 | 2018-07-25 | 1:30 | 1 | WQ-06 | 2018-07-25 | 1:45 | 1
WQ-05 | 2018-07-30 | 12:55 | 5.2 | WQ-06 | 2018-07-30 | 1:00 | 5.2
WQ-05 | 2018-08-06 | 12:35 | 3.1 | WQ-06 | 2018-08-06 | 12:40 | 7.3
WQ-05 | 2018-08-13 | 1:15 | 1 | WQ-06 | 2018-08-13 | 1:20 | 1
WQ-05 | 2018-08-20 | 1:00 | 1 | WQ-06 | 2018-08-20 | 1:50 | 1
WQ-05 | 2018-08-28 | 2:55 | 1 | WQ-06 | 2018-08-28 | 2:45 | 1
WQ-05 | 2018-08-30 | 11:55 | 1 | WQ-06 | 2018-08-30 | 12:05 | 1
WQ-05 | 2018-09-04 | 12:05 | 1 | WQ-06 | 2018-09-04 | 12:15 | 1
WQ-05 | 2018-09-10 | 12:40 | 1 | WQ-06 | 2018-09-10 | 12:45 | 1
WQ-05 | 2018-09-14 | 2:45 | 2 | WQ-06 | 2018-09-14 | 2:35 | 1
WQ-05 | 2018-09-24 | 12:15 | 2 | WQ-06 | 2018-09-24 | 12:20 | 1
Sample ID | Date | Time | E.Coli MPN/100 mL | Sample ID | Date | Time | E.Coli MPN/100 mL
WQ-11 | 2018-05-21 | 1:00 | 1 | WQ-12 | 2018-05-21 | 12:30 | 1
WQ-11 | 2018-05-24 | 1:05 | 3.1 | WQ-12 | 2018-05-24 | 4:05 | 3.1
WQ-11 | 2018-05-29 | 1:50 | 2 | WQ-12 | 2018-05-29 | 1:11 | 1
WQ-11 | 2018-06-18 | 1:55 | 1 | WQ-12 | 2018-06-18 | 1:15 | 1
WQ-11 | 2018-06-21 | 1:45 | 1 | WQ-12 | 2018-06-21 | 1:00 | 1
WQ-11 | 2018-07-02 | 1:30 | 1 | WQ-12 | 2018-07-02 | 12:45 | 7.5
WQ-11 | 2018-07-05 | 1:30 | 6.3 | WQ-12 | 2018-07-05 | 1:00 | 5
WQ-11 | 2018-07-16 | 1:30 | 2 | WQ-12 | 2018-07-16 | 12:58 | 7.5
WQ-11 | 2018-07-25 | 3:15 | 1 | WQ-12 | 2018-07-25 | 2:30 | 1
WQ-11 | 2018-07-30 | 1:45 | 4.1 | WQ-12 | 2018-07-30 | 1:10 | 5.1
WQ-11 | 2018-08-06 | 1:30 | 1 | WQ-12 | 2018-08-06 | 1:00 | 4.1
WQ-11 | 2018-08-13 | 2:00 | 5.2 | WQ-12 | 2018-08-13 | 1:35 | 3.1
WQ-11 | 2018-08-20 | 1:50 | 1 | WQ-12 | 2018-08-20 | 2:15 | 2
WQ-11 | 2018-08-28 | 1:50 | 3.1 | WQ-12 | 2018-08-28 | 1:05 | 1
WQ-11 | 2018-08-30 | 11:00 | 5.2 | WQ-12 | 2018-08-30 | 10:15 | 2
WQ-11 | 2018-09-04 | 11:25 | 2 | WQ-12 | 2018-09-04 | 10:40 | 2
WQ-11 | 2018-09-10 | 1:30 | 2 | WQ-12 | 2018-09-10 | 12:55 | 1
WQ-11 | 2018-09-14 | 1:15 | 1 | WQ-12 | 2018-09-14 | 12:30 | 1
WQ-11 | 2018-09-24 | 1:00 | 1 | WQ-12 | 2018-09-24 | 12:35 | 2
* Unsafe to reach location due to weather conditions
*** Creek dry - no surface water to sample in vicintiy of sample site
Data that is less than 1.0 documented as 1.0 in this table